## NetworkInfastructure
Routers | Quantity | Unit Cost | Total Cost | Power consumption
CISCO C891F-K9 Gigabit Ethernet Security Router with SFP | 3 | 805.85 | 2417.55
Cisco Small Business WRVS4400N Wireless-N Gigabit Security Router | 1 | 269.15 | 269.15
Switches
Cisco 350X Series Stackable Managed Switch | 3 | 695 | 2085
FireWall
SonicWall 01-SSC-3833 Firewall | 1 | 13018 | 13018
Cisco Firepower 2120 NGFW Appliance | 1 | 12287.79 | 12287.79
Access Points
Cisco Aironet 4800 Access Point | 6 | 298.22 | 1789.32
Cisco Aironet 2802e (AIR-AP2802E-B-K9) | 5 | 891.98 | 4459.9
Cisco Small Business Aironet 1702i (AIR-CAP1702I-E-K9) | 5 | 503.05 | 2515.25
NAS Devices
QNAP TS-1263U-RP-4G-US High performance quad-core 10GbE NAS | 1 | 2235.09 | 2235.09 | 0.143 kW
ISP Costs | Annual Costs
Indiana Fiber Network | 12000
Cables and Cable management | Quantity | Estimated Unit Cost | Total Cost
1000ft of Cat 6a Ethernet cable | 4 | 230 | 920
CAT6-6A RJ45 Shielded Plug (1000 pieces) | 4 | 520 | 2080
Professional RJ11, RJ12, RJ45 Crimper Tool | 6 | 20 | 120
CLB 90HB Ladder rack 90 degree turn | 24 | 135 | 3240
CLB 6 Ladder rack | 24 | 75 | 1800
CLB-CSB ceiling mounting bracket | 50 | 35 | 1750
CLH J-Bolts | 300 | 5 | 1500
CLH-EC-12 ¦ Cable Ladder End Caps | 10 | 45 | 450

## BuildingCosts
Item Name | Location | Annual Cost (Estimated)
Indianapolis Office floor space | 9292 N Meridian St, Indianapolis, Indiana | 28665
Alton Office floor space | 2506 College Ave, Alton, Illinois | 10200
Electricity | 2506 College Ave, Alton, Illinois | 1911.5217 | 3.63cents/KwH
Electricity | 9292 N Meridian St, Indianapolis, Indiana | 5176.9872 | 10.08¢/kWh
Water | 2506 College Ave, Alton, Illinois | 2616 | 218 $/month | family of 4 * 2 per work week
Total Estimated Annual Operating Costs | For Both Locations | 48569.5089
Electrical Cost Estimate Breakdown by Usage |  |  | Estimated Annual Energy Usage
HVAC | 9292 N Meridian St, Indianapolis, Indiana |  | 11234.7
Network Infrastructure | 9293 N Meridian St, Indianapolis, Indiana |  | 2069.55 | Based on a Paper by Palmari et. al. 55% of power usage is CPU driven, 38% is HVAC, and the rest are Network infastructure
Servers | 9294 N Meridian St, Indianapolis, Indiana |  | 16260.75 | The average energy consumption of a 5,000 squ. ft. data center with 1,000 servers
Personal devices | 9295 N Meridian St, Indianapolis, Indiana |  | 23094 | 27 MWh per day per 1,000 servers, we have 6 servers, (3 storage + 3 hosting) and thus about 162 kWh per day 29565kWh per year
| Sub total for networked hardware |  | 29565
| Total for Indianapolis office |  | 52659
HVAC | 2506 College Ave, Alton, Illinois | ` | 9440.7 | It’s a smaller area to heat and cool, but not by much, about 1300kWh per year
Network Infrastructure | 2507 College Ave, Alton, Illinois |  | 1978.55
Servers | 2508 College Ave, Alton, Illinois |  | 15545.75
Personal devices | 2509 College Ave, Alton, Illinois |  | 23094
| Sub total for networked hardware |  | 28265
| Total for Alton office |  | 51359
Source for Breakdown (MLA 8):
Palmieri, Francesco, et al. “Energy-Oriented Denial of Service Attacks: An Emerging Menace for Large Cloud Infrastructures.” The Journal of Supercomputing, vol. 71, no. 5, May 2015, pp. 1620–41. CrossRef, doi:10.1007/s11227-014-1242-6.

## NetworkNodes
Personal Devices | Quantity | Unit Cost in US Dollars | Total Cost in US Dollars | Estimated power draw
ThinkPad P51s Mobile Workstation (Includes Office Professional) | 10 | 2696.54 | 26965.4 | 0.4kW per unit
Apple MacBook Pro 15 inch | 10 | 2799 | 27990 | 0.4kW per unit
Workstations
Puget Systems deluge pro (Monitor, Office Professional) (1000 Watt power supply) | 2 | 19349.01 | 38698.02 | 1.0kW per unit
Apple Developer licence | 1 | 299 | 299
iMac Pro | 2 | 13926.98 | 27853.96 | 1.0kW per unit
Storage Devices
Thinkmate STX-NL XE24-14S1 | 3 | 29047 | 87141 | 1.2kW per unit
Servers
Super Micro AS-1042G-TF (AS-1042G-TF-SNX) AMD Opteron 6200 Series Processor 6238 256GB RAM 9TB HD | 3 | 7264.23 | 21792.69 | 1.4kW per unit
Smart-UPS RT 20KVA RM 208V UPS System with 208V/120V 5KVA Step-Down Transformer | 6 | 12933.99 | 77603.94 | 16kW capacity per unit
Server Racks
Tripp Lite Wall-Mount 2-Post Open Frame Rack, 8U/12U/22U Expandable Low-Profile Switch-Depth (SRWO8U22) | 3 | 107.01 | 321.03
Grand Total Cost for Hardware
308665.04

## MobileDevices
Apple phones | Quantity | Estimated Unit Price | Total Price
iPhone X | 3 | 1000 | 3000
iPhone 5s | 2 | 180 | 360
iPhone 7 | 2 | 550 | 1100
iPhone 6s | 2 | 200 | 400
iPhone SE | 2 | 200 | 400
iPhone 8 | 2 | 800 | 1600
iPhone 8 plus | 2 | 880 | 1760
iPhone 7 plus | 2 | 670 | 1340
Android Phones
Samsung Galaxy Note 8 | 5 | 760 | 3800
Google Pixel 2 | 3 | 400 | 1200
LG V30 | 3 | 600 | 1800
Android MotoX | 3 | 330 | 990
Sony Xperia XZ1 | 3 | 220 | 660
Samsung Galaxy 8 | 3 | 560 | 1680
HTC U11 | 3 | 430 | 1290
LG G6 | 3 | 450 | 1350
Samsung Galaxy s9 | 3 | 720 | 2160
Total Cost of Mobile Devices |  |  | 24890

## EmployeePayroll
Name | Annual Salary | Position (Hierarchy)
Jonathan Ansumana | 145000 | VP of Operations
Alphonse Baraza | 150000 | CFO
Amanda Breneman | 200000 | Chief Network Officer
Andrew Christianson | 100000 | Senior Graphic Designer
Matthew Christianson | 100000 | Sound Design
Emma Herman | 400000 | CEO (Founder)
Nick Flanders | 120000 | Senior Dev Ops Engineer
Chris Hronek | 130000 | Scrum Master
Kirill Kudaev | 90000 | Scrum Teammate
Bjorn Matheson | 120000 | VP of communications
Zachary Matthiesen | 20000 | Janitor
Sam Meier | 90000 | Scrum Teammate
Germaine Nyiramana | 140000 | VP of Finance
Caidi Phillips | 200000 | CIO
Martin Soemarsono | 90000 | Scrum Teammate
Lee Tarnow | 80000 | UX/UI designer
Michael Upton | 90000 | Scrum Teammate
Justin Wade | 70000 | Sever Tech
Jacob Williams | 70000 | Server Tech
Total Payroll Cost Per Annum | 2405000